## Slide 1: Table-Top Free Space QKD Results
Heasin Ko
2017.02.06

## Slide 2
Overall Block Diagram
QWP
LD4
LD1
LD2
LD3
DM
DM
M
M
M
M
M
780nm
Quantum
Signal
1550nm
Sync. Signal
Sync.
Detector
Electronics
SPD1
SPD2
SPD3
SPD4
Electronics
HWP
QWP
HWP
BS
PBS
PBS
BS
Beam
Expander
Isolator
Sync.
Laser
Alice
Bob
Attn.
Filter
Quantum Channel
Classical
Channel
FPGA
FPGA

## Slide 3
Components Part Numbers
Component | Company | Part number
FPGA | Opal Kelly | XEM7360
FMC-SMA Board | Hitech Global | HTG-FMC-X8SMA
CMOS Camera | Thorlabs | DCC1545M
Camera Lens |  | MVL100M23
Beam Expander |  | GBE03-B
Fiberport Lens |  | PAF-X-18-PC-B
Pol. Independent Isolator |  | IO-F-780APC
Dichroic Mirror |  | DMLP950
Tracking LD |  | 
WDM | Haphit | 780-1550
Gimbal | Meade | LX200-ACF Autostar
1. Tx
Component | Company | Part number
FPGA | Xilinx | VC707
FMC-SMA Board | Hitech Global | HTG-FMC-X8SMA
TTL to LVDS | Pulse Research Lab | PRL-426
CMOS Camera | Thorlabs | DCC1545M
Camera Lens |  | MVL100M23
Beam Expander |  | GBE10-B
Fiberport Lens |  | PAF-X-7-B PAF-X-11-PC-C
Dichroic Mirror |  | DMSP950
Spectral Filter1 |  | FESH0800
Spectral Filter2 | Semrock | LD01-785.10-25
Single Photon Detector | Perkin Elmer | SPCM-AQ4C
DAQ | NI | USB-6002
FSM | Newport | FSM-300-02
QD |  | 2901
Gimbal |  | Custom Design
Gimbal Controller |  | EPS301
2. Rx

## Slide 4
Transmitter (Alice)
LD4
LD1
LD2
LD3
DM
Electronics
HWP
BS
PBS
Isolator
Sync.
Lasers
Alice
Attn.
FPGA

## Slide 5
Receiver (Bob)
QWP
DM
M
Sync.
Detector
SPD1
SPD2
SPD3
SPD4
Electronics
HWP
QWP
PBS
BS
Beam
Expander
Bob
Filter
FPGA

## Slide 6
System Operation Condition
Clock: 100MHz
Electrical pulse width: 400 – 500 ps
Optical pulse width: < 100 ps
Wavelength: 787.223 nm (FWHM: 0.45 nm)
Mean photon number = 0.1085
Bit generation: PRBS7
Table-Top Operation (2m channel)
Dark room condition

## Slide 7
Source – Electrical Pulse
Clock: 100MHz
Width: 400 - 500 ps
 | LD1 | LD2 | LD3 | LD4
Variable Amplifier (dB) | 7 | 3 | 7 | 6
DC bias (V) | 1.53 | 1.63 | 1.58 | 1.58
AC peak Value (V) |  |  |  | 

## Slide 8
Source – Optical Pulse
Clock: 100MHz
Pulse Width: < 100 ps
Photodetector BW: 12 GHz
Oscilloscope BW: 13 GHz
Laser1
Laser2
Laser3
Laser4

## Slide 9
Source – Spectrum
Center Wavelength: 787.223 nm
FWHM: 0.45 nm
Temperature (°C)
  LD1: 14
  LD2: 34.1
  LD3: 34
  LD4: 26.4
Laser1
Laser2
Laser3
Laser4
All Sources

## Slide 10
Detector Characteristics
Single photon Detector: Perkin Elmer SPCM-AQ4C
Detection efficiency: 50 % @ 787 nm
Afterpulse probability: 0.5 %
Deadtime: 50ns
Dark Count: < 500 cps
Dark Count Estimation
 | Avg. Counts | Std. dev.
Detector1 | 173.9 | 16.2
Detector2 | 281.7 | 15.1
Detector3 | 418.7 | 21.9
Detector4 | 394.0 | 22.1

## Slide 11: With Bulk optics at Receiver

## Slide 12
Detecting Result1 – Polarization Extinction Ratio
Counts of single photon detector output (Polarization Extinction Ratio ~ Expected QBER)
Each laser is exclusively on.

## Slide 13
Detecting Result1 – Polarization Extinction Ratio (PER)
LD1 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 421142 | 701 | 226416 | 214968 | 600.33 | 1002.74
Standard Deviation | 1669 | 27 | 1191 | 1319 |  | 
LD2 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 1045 | 430337 | 223631 | 223616 | 411.76 | 493.66
Standard Deviation | 27 | 1811 | 1170 | 1165 |  | 
LD3 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 218325 | 219919 | 440910 | 935 | 472.21 | 813.21
Standard Deviation | 988 | 995 | 1981 | 28 |  | 
LD4 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 210199 | 207421 | 1991 | 424923 | 213.33 | 269.86
Standard Deviation | 1491 | 1599 | 45 | 3616 |  | 

## Slide 14
Detecting Result2 – Key Rates
FPGA Processed Data
Raw Key rates: 3149.858 kbits/s
Sifted Key rates: 1562.240 kbits/s

## Slide 15
Detecting Result3 – QBER
QBER: 0.69 %

## Slide 16: With PLC module at Receiver

## Slide 17
Overall Block Diagram
QWP
LD4
LD1
LD2
LD3
DM
DM
M
M
M
M
M
780nm
Quantum
Signal
1550nm
Sync. Signal
Sync.
Detector
Electronics
SPD2
SPD3
Electronics
HWP
QWP
HWP
BS
PBS
Beam
Expander
Isolator
Sync.
Laser
Alice
Bob
Attn.
Quantum Channel
Classical
Channel
FPGA
FPGA
PLC
Module
SPD4
SPD1
Bob

## Slide 18
Detecting Result1 – Polarization Extinction Ratio
Counts of single photon detector output (Polarization Extinction Ratio ~ Expected QBER)
Each laser is exclusively on.

## Slide 19
Detecting Result1 – Polarization Extinction Ratio (PER)
LD1 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 98603 | 1899 | 37501 | 55354 | 51.91 | 60.84
Standard Deviation | 1580 | 53 | 635 | 875 |  | 
LD2 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 2133 | 90088 | 61960 | 41005 | 42.22 | 45.83
Standard Deviation | 67 | 1597 | 1098 | 752 |  | 
LD3 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 47437 | 39545 | 87418 | 2987 | 29.26 | 33.55
Standard Deviation | 665 | 551 | 1212 | 69 |  | 
LD4 on | LD1 | LD2 | LD3 | LD4 | PER (Dark 포함) | PER (Dark 제거)
Average Counts | 51607 | 42396 | 2548 | 89264 | 35.02 | 41.72
Standard Deviation | 774 | 668 | 63 | 1398 |  | 

## Slide 20
Detecting Result2 – Key Rates
FPGA Processed Data
Raw Key rates: 831.182 kbits/s
Sifted Key rates: 415.399 kbits/s

## Slide 21
Detecting Result3 – QBER
QBER: 2.81%

## Slide 22: Software Preview

## Slide 23
Transmitter Program
Transmitter Program

## Slide 24
Receiver Software & Monitoring
Receiver Program
QKD Performance Monitoring